## General Summary of Alternatives
Alternative Number and Title | Cost Estimate
Markowitz | Estimated Annual Yield (million gallons [MG]) | [5 empty] | Not BC
Reliability Over Time (seasonal and inter-annual variability)
| Costs | Best Estimate |  | Likely Range
Capital
Annual
Present Value
Capital cost/MG
PV Cost/MG
Energy (KWh/MG)
SCDA Conservations Building Codes | Estimated Annual Yield (million gallons [MG]) | [5 empty] | Not BC
Reliability Over Time (seasonal and inter-annual variability)
| Costs | Best Estimate |  | Likely Range
Capital
Annual
Present Value
Capital cost/MG
PV Cost/MG
Energy (KWh/MG)
SCDA Water-Neutral Development | Estimated Annual Yield (million gallons [MG]) | [5 empty] | Not BC
Reliability Over Time (seasonal and inter-annual variability)
| Costs | Best Estimate |  | Likely Range
Capital
Annual
Present Value
Capital cost/MG
PV Cost/MG
Energy (KWh/MG)
WaterSmart Home Water Reports | Estimated Annual Yield (million gallons [MG]) | [5 empty] | Not BC
Reliability Over Time (seasonal and inter-annual variability)
| Costs | Best Estimate |  | Likely Range
Capital
Annual
Present Value
Capital cost/MG
PV Cost/MG
Energy (KWh/MG)
5. Bevirt - North Coast Water | Ad |  |  |  |  | 200
Reliability Over Time (seasonal and inter-annual variability)
| Costs | Best Estimate | Likely Range | Comments
650-MG Liddell alternative:
| Capital | $25M | $20M to $50M
| Annual | 0 | 0
| Present Value | 0 | 0
| Capital cost/MG | 125000 | $125,000 to $250,000
| PV Cost/MG | 0 | 0
| Energy (KWh/MG) | 0 | 0
6. McKinney - Expanded Treatment Capacity | Estimated Annual Yield (million gallons [MG]): Up to 977 MGY if City perfects its right to SLR diversion with about 560 MGY in new water. Availability of water may decrease substantially in drier years.
Reliability Over Time (seasonal and inter-annual variability)
| Costs; see pages 7 and 8 of the "McKinney: Expanded Treatment Capacity" document | Best Estimate | Likely Range | Comments
| Capital | $86M | $57M to $129M
| Annual | 0 | 0
| Present Value | 0 | 0
| Capital cost/MG | 154000 | $103,000 to $231,000
| PV Cost/MG | 0 | 0
| Energy (KWh/MG) | 0 | 0
7. McKinney Ranney Collectors SLR | Estimated Annual Yield (million gallons [MG]): Up to 977 MGY if City perfects its right to SLR diversion with about 560 MGY in new water. Availability of water may decrease substantially in drier years.
Reliability Over Time (seasonal and inter-annual variability)
| Costs | Best Estimate | Likely Range | Comments
| Capital | $16M | $11M to $24M
| Annual | 0 | 0
| Present Value | 0 | 0
| Capital cost/MG | 30000 | $20,000 to $45,000
| PV Cost/MG | 0 | 0
| Energy (KWh/MG) | 0 | 0
8. Paul-Lochquifer | Estimated Annual Yield (million gallons [MG]) |  |  |  |  | 640
Reliability Over Time (seasonal and inter-annual variability)
| Costs | Best Estimate | Likely Range | Comments
| Capital | $30M | $20M to $45M | Requires that the City implement either Alternative 6 or Alternative 7, in order to deliver required water reliably.
| Annual | 0 | 0
| Present Value | 0 | 0
| Capital cost/MG | 50000 | $33,000 to $75,000
| PV Cost/MG | 0 | 0
| Energy (KWh/MG) | 0 | 0
9. Ripley - Reuse for Agriculture | Estimated Annual Yield (million gallons [MG]) |  |  |  | Up to 780
Reliability Over Time (seasonal and inter-annual variability)
| Costs | Best Estimate | Likely Range | Comments
| Capital | $88M | $70M to $140M
| Annual | 0 | 0
| Present Value | 0 | 0
| Capital cost/MG | 113000 | $75,000 to $170,000
| PV Cost/MG | 0 | 0
| Energy (KWh/MG) | 3300 | $3,200 to $3,500
10.SCDA - Regional Aquifer Restoration | Estimated Annual Yield (million gallons [MG]) |  |  |  | 78
Reliability Over Time (seasonal and inter-annual variability)
| Costs | Best Estimate | Likely Range | Comments
| Capital | 0 | 0 | Costs would be similar to Alternative 8. Lochquifer but unit cost higher owing to projected reduced extraction and return.
| Annual | 0 | 0
| Present Value | 0 | 0
| Capital cost/MG | 0 | 0
| PV Cost/MG | 0 | 0
| Energy (KWh/MG) | 0 | 0
11. SCWD - Water Reuse | Estimated Annual Yield (million gallons [MG]) |  |  |  | Up to 1350
Reliability Over Time (seasonal and inter-annual variability)
| Costs | Best Estimate | Likely Range | Comments
| Capital | $105M | $72M to $162M
| Annual | 0 | 0
| Present Value | 0 | 0
| Capital cost/MG annual capacity | 80000 | $60,000 to $120,000
| PV Cost/MG | 3600 | $2,400 to $6,000
| Energy (KWh/MG) | 0 | 0
12. SWC - Desalination | Estimated Annual Yield (million gallons [MG]) |  |  |  | 915
Reliability Over Time (seasonal and inter-annual variability)
| Costs | Best Estimate | Likely Range | Comments
| Capital | $105M | $70M to $160M
| Annual | 0 | 0
| Present Value | 0 | 0
| Capital cost/MG annual capacity | 115000 | $77,000 to $172,000
| PV Cost/MG | 0 | 0
| Energy (KWh/MG) | 0 | 0
13. Trevi - Forward Osmosis Desalination | Estimated Annual Yield (million gallons [MG]) assuming that a new facility would produce 2.5 mgd |  |  |  |  | 915
Reliability Over Time (seasonal and inter-annual variability)
| Costs | Best Estimate | Likely Range | Comments
| Capital | 0 | 0 | Costs would be similar to RO desalination. Technology is not proven and required low grade heat source unidentified. City could swap out RO desalting for FO desalting in the future.
| Annual | 0 | 0
| Present Value | 0 | 0
| Capital cost/MG | 0 | 0
| PV Cost/MG | 0 | 0
| Energy (KWh/MG) | 0 | 0
WORKING
DRAFT
WORKING
DRAFT

## Markowitz (hidden)
City of Santa Cruz Water Supply Advisory Committee
Recon Phase -- Technical Summary
Initial Ranking | Convention Number | Title: "Markowitz: Landscaping, Capture, Re-use"
16th
Description: Demand
Estimated Annual Yield (million gallons [MG])
Reliability Over Time (seasonal and inter-annual variability)
Costs | Best Estimate |  | Likely Range
Capital
Annual
Present Value
Capital cost/MG
PV Cost/MG
Energy (KWh/MG)
Key Components
1 Rainwater for non-potable home use | 6
2 Greywater for irrigation | 7
3 Landscape should consist of "natives/drought tolerant plants" | 8
4 Store rainwater below or above ground | 9
5 | 10
Implementation Requirements Summary
Required Land Area (acres)
Permitting Summary
Legal Requirements/Issues
Environmental Considerations
Need to educate home owners on the correct usage/storage of greywater/rainwater
Related Opportunities
Issues to Resolve
Requires more of an engineering background and analysis, alternative may need more incentive provided by local government to (e.g. rebates), need to establish educational programs on how and when to use greywater/rainwater, a more detailed cost estimate required for this alternative; take into account that drought will happen (i.e. may not have a substantial rain season)
Initial Evaluation
Effectiveness
Practicality
Environmental Impacts
Weighted
WORKING
DRAFT

## SCDA Cons. Bldg Codes (hidden)
City of Santa Cruz Water Supply Advisory Committee
Recon Phase -- Technical Summary
Initial Ranking | Convention Number | Title: "SCDA: Conservation Building Codes"
6
Description: Demand management
Estimated Annual Yield (million gallons [MG])
Reliability Over Time (seasonal and inter-annual variability)
Costs | Best Estimate |  | Likely Range | Doesn't give much specifics
Capital |  |  |  | Refers to Alt. 2 of K/J 2011 report
Annual |  |  |  | Limitations explained in K/J report: cost of constructing pipelines for interconnections, compatibility of systems, water rights issues. Negotiations/cooperation of agencies.
Present Value
Capital cost/MG
PV Cost/MG
Energy (KWh/MG)
Key Components
1 | 6
2 | 7
3 | 8
4 | 9
5 | 10
Implementation Requirements Summary
Required Land Area (acres)
Permitting Summary
Legal Requirements/Issues
Environmental Considerations
Related Opportunities
Issues to Resolve
Initial Evaluation
Effectiveness
Practicality
Environmental Impacts
Weighted
WORKING
DRAFT

## SCDA Water-Neutral Development (hidden)
City of Santa Cruz Water Supply Advisory Committee
Recon Phase -- Technical Summary
Initial Ranking | Convention Number | Title: "SCDA: Water-Neutral Development" |  | Ties into "SCDA: Conservation Building Codes"
8 |  |  |  | Need referenced report
Description: Demand management
Estimated Annual Yield (million gallons [MG])
Reliability Over Time (seasonal and inter-annual variability)
Costs | Best Estimate |  | Likely Range
Capital
Annual
Present Value
Capital cost/MG
PV Cost/MG
Energy (KWh/MG)
Key Components
1 This alternative allows for growth without increasing water demand | 6
2 "Water-demand offset program" allows retrofits in other areas of the system that will balance the increase in water demand created from new development (e.g. new building with high efficiency) | 7
3 More "fund conservation programs" for existing users | 8
4 | 9
5 | 10
Implementation Requirements Summary
Required Land Area (acres)
Permitting Summary
Legal Requirements/Issues
Related Opportunities
Environmental Considerations
Issues to Resolve
Initial Evaluation
Effectiveness
Practicality
Environmental Impacts
Weighted
WORKING
DRAFT

## WaterSmart Home Water Reports (hidden)
City of Santa Cruz Water Supply Advisory Committee
Recon Phase -- Technical Summary
Initial Ranking | Convention Number | Title: "WaterSmart: Home Water Reports"
2
Description: Recycled water
Water conservation?
Estimated Annual Yield (million gallons [MG])
Reliability Over Time (seasonal and inter-annual variability)
Costs | Best Estimate |  | Likely Range
Capital
Annual
Present Value
Capital cost/MG
PV Cost/MG
Energy (KWh/MG)
Key Components
1 Educates and engages customers in their water use | 6 Certified B-Corporation
2 Encourages conservation | 7 WaterSmart provides services to several other utilities
3 Sets goals | 8
4 No capital cost | 9
5 Typically 4-6 weeks to start program | 10
Implementation Requirements Summary
Required Land Area (acres)
Permitting Summary
No permitting required
Legal Requirements/Issues
Environmental Considerations
Report claims there are no environmental considerations, besides "normal business operations"
Related Opportunities
Work with NGOs
Issues to Resolve
Initial Evaluation
Effectiveness
Practicality
Environmental Impacts
Weighted
WORKING
DRAFT

## Bevirt North Coast Water
City of Santa Cruz Water Supply Advisory Committee
Recon Phase -- Technical Summary
Alternative 5 - "Bevirt: North Coast Water"
This alternative for initial comparison uses only the Liddell quarry which would hold about 650 million gallons (MG) since its construction would not require building a dam. BC dropped the San Vicente site since the San Mateo Peninsula Open Space Trust and the Sempervirens Fund have acquired the site and initiated creation of a conservation easement over the site to prevent future development. If the City withdrew stored water over a 3-year drought cycle, production would be about 200 MG annually after allowing for evaporation and leakage losses. This alternative has several outstanding issues, e.g., water rights (new diversion location from which to fill the reservoir, routing of fill pipeline), geotechnical and construction issues associated with installing a liner on steep slopes over a porous karst formation, preparation and approval of environmental documents, California Department of Fish and Wildlife (CDFW) and National Marine Fisheries Service (NMFS) approvals for water diversions from streams with salmonid populations, and agreements with the landowner about ownership and operations.
Initial Ranking | Convention Number
1
Description: "Storage (on-stream, off-stream, underground, and groundwater development)"
Estimated Annual Yield (million gallons [MG]) [Quarry reservoir would be dry after three drought years.] |  |  |  | 200
Reliability Over Time (seasonal and inter-annual variability)
Costs | Best Estimate | Likely Range | Comments
650-MG Liddell alternative:
Capital | $25M | $20M to $50M
Annual
Present Value
Capital cost/MG | 125000 | $125,000 to $250,000
PV Cost/MG
Energy (KWh/MG)
Key Components
1. Stabilize quarry rim to prevent landslides and protect proposed new facilities. Cleaned and recontoured quarry walls |  | 4. Pumping stations to draw water from other City North Coast water sources.
2. Impervious poly liner with supporting cushion layer, installed over chainlink base to separate liner from remaining wall roughness. |  | 5. Installation of Ranney collectors or new SLR WTP, so that City would use SLR water rights, allowing North Coast rights to fill new reservoir.
3. Directionally drilled inlet/outlet pipeline, connected to Liddell Springs pipeline. |  | 6
Implementation Requirements Summary
Carry out preliminary planning; prepare, circulate and certify environmental documents; complete design documents; file for and obtain permits; negotiate and execute contracts with property owners; bid and construct improvements; determine if new conservation easement over San Vicente quarry site would preclude development of any sort of reservoir.
Required Land Area (acres) |  |  |  | 50+
Permitting Summary
Likely permits include stream bed alteration permit(s) from CA DF&W, CA Division of Safety of Dams, County building permits (s),Coastal permits, USACE (?), and NMFS (?)
Legal Requirements/Issues
Water rights for diversion from existing stream flows; releases to maintain downstream flows; landownership and deed/land-use restrictions.
Environmental Considerations
Remediation of limestone quarries, salmonoid population impacts and required bypass flows and other aquatic/land species, karst topography; potential energy use for pumping water into or out of storage reservoirs. Unknown impacts on other species around the reservoirs.
Related Opportunities
To avoid requirements for new diversion rights, consider routing water from existing City North Coast water rights into new quarry storage. This change would happen in conjunction with improvements at the Felton diversion so that GHWTP could treat water regardless of river flows or turbidity levels.
Issues to Resolve
Landownership and project compatibility with proposed easements; karst topography and geology; slopes, potential annual loss through leakage; legality of water appropriation and transfer; impact of variations in annual rainfall versus actual water production.
Initial Evaluation
Effectiveness
Practicality
Environmental Impacts
Weighted
WORKING
DRAFT

## McKinney Expanded Treatment Cap
City of Santa Cruz Water Supply Advisory Committee Recon Phase -- Technical Summary
Alternative 6 - "McKinney: Expanded Treatment Capacity"
This alternative for initial comparison would add a new 14-mgd water treatment plant (WTP) (pretreatment for turbidity control and membrane filtration) near the Tait Street Diversion to produce treated water that would be piped directly into the distribution system. The write up for this alternative indicates that the alternative would allow an annual water diversion increase of about 560 MG. The alternative has several outstanding issues, e.g., determine the final treatment train (MF would need pretreatment ahead of MF for elevated SLR turbidity concentration), preparation and approval of environmental documents, determination if water rights and diversion permits would need modifications, and development of a plan to store and use diverted water beneficially. If the City would have excess water during normal or wet years, it might transfer extra water to Soquel Creek Water District (SqCWD) and/or Scotts Valley Water District (SVWD) but doing so would require agreements with the agencies and likely would trigger water rights permit modifications since the place of use would change. For example, see Lochquifer and SCDA alternatives for components needed to transfer water to SqCWD for storage and recovery.
Initial Ranking | Convention Number
5
Description: "Operational performance improvement (incremental supply improvements from current sources included)"
Estimated Annual Yield (million gallons [MG]): Up to 977 MGY if City perfects its right to SLR diversion with about 560 MGY in new water. Availability of water may decrease substantially in drier years.
Reliability Over Time (seasonal and inter-annual variability)
Costs; see pages 7 and 8 of the "McKinney: Expanded Treatment Capacity" document | Best Estimate | Likely Range | Comments
Capital | $86M | $57M to $129M
Annual
Present Value
Capital cost/MG | 154000 | $103,000 to $231,000
PV Cost/MG
Energy (KWh/MG)
Key Components
1. Low head pumping to new MF WTP | 6. Solids thickening and dewatering facilities
2. Turbidity reduction system to protect MF system from high turbidity and potential fouling organic carbon. | 7. Pump Station to transfer gtreated water to GHWTP for addiiton to City distribution system
3. Microfiltration (MF) process | 8
4. Disinfection and conditioning. | 9
5. Backwash and filter cleaning solution management systems | 10
Implementation Requirements Summary
Carry out preliminary planning; prepare, circulate and certify environmental documents; complete design documents; file for and obtain permits; bid and construct improvements and initiate operations
Required Land Area (acres) |  |  |  | 4
Permitting Summary
CEQA/NEPA compliance; NWFS and CFDFW sign offs
Legal Requirements/Issues
Actions to perfect water rights; potentially adjust diversion based upon HCP and revised, higher bypass
Environmental Considerations
Increased GHGs, thus site selection is crucial; salmonoid population
Related Opportunities
Possibility of using new MF WTP to replace GHWTP; possibility of using extra water for groundwater recharge if the City can resolve legal issues associated with water rights and reach agreement with other local agencies, e.g. SVWD and/or SqCWD
Issues to Resolve
Right-sizing for new WTP; water rights issues; available flows versus any new fish bypass requirements; possible need for new pipelines for potable water and for excess water used for groundwater recharge
Initial Evaluation
Effectiveness
Practicality
Environmental Impacts
Weighted
WORKING
DRAFT

## McKinney Ranney Collectors SLR
City of Santa Cruz Water Supply Advisory Committee
Recon Phase -- Technical Summary
Alternative 7 - "McKinney: Ranney Collectors on SLR"
This alternative for initial comparison would use Ranney collectors with a 12.9-mgd capacity (maximum capacity allowed under the current City of Santa Cruz [City] diversion permit), installed near the City’s Felton diversion to draw water allocated under the City’s existing water rights. Water drawn through the collectors would have greatly reduced turbidity. Much higher water quality would allow continuous refilling of Loch Lomond while also operating the GHWTP. More studies would be required to project increased diversion opportunity, however the increased diversion likely would be somewhat less than about 560 MG annually as projected for Alternative 6. The alternative has several outstanding issues, e.g., the City would need to conduct additional analyses for available flow, addressing any bypass requirements under the habitat conservation plan. The City would also need to determine its plan to store and use diverted water beneficially. If the City would have excess water during normal or wet years, the City might transfer extra water to Soquel Creek Water District (SqCWD) and/or Scotts Valley Water District (SVWD) but doing so would require agreements with the agencies and likely would trigger water rights permit modifications since the place of use would change.
Initial Ranking | Convention Number
4
Description: "Operational performance improvement (incremental supply improvements from current sources included)"
Estimated Annual Yield (million gallons [MG]): Up to 977 MGY if City perfects its right to SLR diversion with about 560 MGY in new water. Availability of water may decrease substantially in drier years.
Reliability Over Time (seasonal and inter-annual variability)
Costs | Best Estimate | Likely Range | Comments
Capital | $16M | $11M to $24M
Annual
Present Value
Capital cost/MG | 30000 | $20,000 to $45,000
PV Cost/MG
Energy (KWh/MG)
Key Components
1. Caisson | 6
2. Intake laterals | 7
3. Pumps and backwash system | 8
4 | 9
5 | 10
Implementation Requirements Summary
Carry out preliminary planning; prepare, circulate and certify environmental documents; complete design documents; file for and obtain permits; bid and construct improvements and initiate operations.
Required Land Area (acres) |  |  |  | NA
Permitting Summary
CEQA/NEPA compliance; NMFS and CFDFW sign offs
Legal Requirements/Issues
Actions to protect water rights if the City needs to perfect its water rights and increase diversion up to permit limitations.
Environmental Considerations
Potential increased diversion and rleated adverse impacts on fishery.
Related Opportunities
Possibly use excess water produced by the Ranney collectors, after treatment, for groundwater recharge.
Issues to Resolve
Site-specific geotechnical conditions; preferred siting for caisson and laterals; resolution of any water rights issues.
Initial Evaluation
Effectiveness
Practicality
Environmental Impacts
Weighted
WORKING
DRAFT

## Paul Lochquifer
City of Santa Cruz Water Supply Advisory Committee
Recon Phase -- Technical Summary
Alternative 8 - "Paul: (13) The Lochquifer Alternatives"
This alternative would use treated water sold by the City to Soquel Creek County Water District (SqCWD) during normal and wet years. SqCWD would use the transferred water either for groundwater recharge through seven 250-gallon-per-minute (gpm) recharge wells, for conjunctive use (well field resting) recharge, or both. The City would take more water from its San Lorenzo River and/or Newell Creek diversions, about 2.5 million gallons per day (mgd) or about 915 MG annually, to match the desalination alternative. If recharge occurred continuously for five years, total transferred water would be about 4,600 MG. Facilities would include Ranney collectors at the Felton Diversion, to insure that the Graham Hill Water Treatment Plant (GHWTP) could treat the diverted water continuously. During drought years the City would receive returned water (groundwater) from SqCWD. The City also would pump its Tait Street wells year round since the recharged Purisima aquifer would yield available water without causing seawater intrusion. Potential yield would be 2 mgd from the Live Oak wells and 2.5 mgd from SqCWD; 4.5 mgd total. If the City used these sources for six months, total production, after deducting out a 1-mgd production allowance for the existing wells, would be about 640 MG annually. This alternative has several outstanding issues, e.g., water rights (modification of place of use), assembling appropriate information to site injection wells, modeling the Purisima aquifer to project better potential performance, and agreement with SqCWD on how the alternative’s water would be conveyed, shared and paid for.
Initial Ranking | Convention Number
12
Description: Lochquifer proposal includes many subalternatives. For comparison purposes at the Recon level, the alternative is very similar to SCDA "Aquifer Restoration" but would operate at a much larger scale. Therefore it would recharge the groundwater table much more rapidly and also would make more water available to return to the City.
Estimated Annual Yield (million gallons [MG]) [Yield likely would be available only for a short drought of 3 or 4 years.] |  |  |  | 640
Reliability Over Time (seasonal and inter-annual variability)
Costs | Best Estimate | Likely Range | Comments
Capital | $30M | $20M to $45M | Requires that the City implement either Alternative 6 or Alternative 7, in order to deliver required water reliably.
Annual
Present Value
Capital cost/MG | 50000 | $33,000 to $75,000
PV Cost/MG
Energy (KWh/MG)
Key Components
1. Turbidity control facilities at Felton Diversion | 6
2. Major upgrades to City distribution system for water transfer to SqCWD | 7
3. Seven injection wells | 8
4 | 9
5 | 10
Implementation Requirements Summary
Plan, design and permit turbidity redcuction facilities at Felton. Prepare, circulation, and approve CEQA documents. Develop and enter into an agreements with SqCWD for water exchanges.
Required Land Area (acres) |  |  |  | 6
Permitting Summary
CEQA/NEPA compliance. Water rights issues for change of place of use and perfecting City water rights. CDFW and NMFS approvals for increased SLR diversions.
Legal Requirements/Issues
Water rights issues for change of place of use and perfecting City water rights
Environmental Considerations
Potential fisheries impacts. Construction impacts at Felton diversion and through City.
Related Opportunities
Address groundwater overdraft/seawater intrusion and potential improved production from Live Oak wells
Issues to Resolve
Water rights issues; water sharing agreement between SCWd and SqCWD; environmental issues resulting from increased diversion from SLR.
Initial Evaluation
Effectiveness
Practicality
Environmental Impacts
Weighted
WORKING
DRAFT

## Ripley Reuse for Agriculture
City of Santa Cruz Water Supply Advisory Committee
Recon Phase -- Technical Summary
Alternative 9 - "Ripley: North Coast Agriculture"
This alternative for initial comparison would produce filtered disinfected effluent (CA Title 22 unrestricted water) from the City Wastewater Treatment Plant (WWTP) at a rate of about 4.3 mgd. The City would pump the effluent north through a new pipeline aligned along the railroad right of way, with turnouts to irrigate up to about 1,300 acres on private land and leased land on properties owned by the California State Parks (CSP) and the United States Bureau of Land Management (BLM). This process is assumed to take place over 180 days per year and total water available for crop irrigation would be about 780 MG. The City would build 12 new 250-gpm extraction wells that discharge into new pipeline that in turn would connect to the existing City North Coast pipeline. The water would combine with diverted surface water from the City North Coast rights, for treatment at the GHWTP. To develop space for new facilities within the WWTP site, the City would need to relocate its Line Maintenance Facility from the WWTP site to a new site on the West Side. The alternative has several outstanding issues, e.g., legal agreements with CSP, BLM, and property owners and with irrigators, securing the right of way for the new delivery and return pipelines such as along the railroad ROW, geotechnical investigations for well construction, assessment of the groundwater basin to ensure that operation would not adversely affect the groundwater basin, permitting through the California Coastal Commission, preparation and approval of CEQA/NEPA documents (NEPA is included because the project includes BLM land), and location and purchase of new Line Maintenance Facility site.
Initial Ranking | Convention Number
12
Description: Recycled water
Estimated Annual Yield (million gallons [MG]) |  |  |  | Up to 780
Reliability Over Time (seasonal and inter-annual variability)
Costs | Best Estimate | Likely Range | Comments
Capital | $88M | $70M to $140M | Capital costs include major costs for new pipelines running upcoast beyond Davenport
Annual
Present Value
Capital cost/MG | 113000 | $75,000 to $170,000
PV Cost/MG
Energy (KWh/MG) | 3300 | $3,200 to $3,500
Key Components
1. Tertiary Treatment (Title 22 unrestricted) or Complete Advanced Treatment at WWTP | 4. Extraction wells (12 at 250 gpm each)
2. New line maintenance facility to free space at WWTP for new tertiary treatment | 5. Return pipeline to connect to City's NC pipeline ((about 8 miles).
3. Delivery pipeline (14 miles) to convey recycled water from WWTP to irrigators, aligned along railroad tracks | 6. Storage Reservoir to equalize daily demands
Implementation Requirements Summary
Negotiate agreements with farmers, California State Parks and USBLM, carry out preliminary planning including WWTP upgrades, wells, and pipelines; prepare, circulate and certify environmental documents; complete design documents; file for and obtain permits; bid and construct improvements
Required Land Area (acres) [storage reservoir, wells sites] |  |  |  |  | <10
Permitting Summary
Likely permits include stream bed alteration permit(s) from CA DF&W, County building permits (s), Coastal permits, USACE (?), and NMFS (?) and completion of CEQA/NEPA process. Also some lands are owned by BLM and CA State Parks so implementaiton would require agreements with these agencies.
Legal Requirements/Issues
Water rgihts and water transfer requirements, salmonoid population impacts and required bypass flows and other aquatic/land species,
Environmental Considerations
Potential adverse impacts on coastal riparian, aquatic, and terrestrial habitats, potential carbon footprints and energy required, potential treatment of source water
Related Opportunities
Aquifer storage and recovery,conversion of railroad right of way into coastal trail while creating pipeline access and easement; potential funding through CA Coastal Conservancy
Issues to Resolve
Ability to use railroad right of way for pipelines; acceptability of effluent for crop irrigation; groundwater conditions for potential aquifer storage; location of a site for a new Line Maintenance Facility
Initial Evaluation
Effectiveness
Practicality
Environmental Impacts
Weighted
WORKING
DRAFT

## SCDA Reg. Aquifer Restoration
City of Santa Cruz Water Supply Advisory Committee
Recon Phase -- Technical Summary
Alternative 10 - "SCDA: Regional Aquifer Restoration"
This alternative would have the same components as Alternative 8 (“Paul Lochquifer”) but the recharge and return rates would be lower. This alternative would transfer about 800 MG from the City to SqCWD over an extended period but SqCWD would return only about 145 MG to the City during dry years. The City’s drought production from its Live Oak wells would increase from 1 mgd to 2 mgd, or about 365 MG. The long-term average approximate production increase appears to be [(145+365)/6.5] = 78 MG. The alternative has several outstanding issues, e.g., water rights (modification of place of use), assembling appropriate information to site injection wells, modeling the Purisima aquifer to project better potential performance, and agreement with SqCWD on how the alternative’s water would be conveyed, shared and paid for.
Initial Ranking | Convention Number
7
Description: "Operational performance improvement (incremental supply improvements from current sources included)"
Estimated Annual Yield (million gallons [MG]) |  |  |  | 78
Reliability Over Time (seasonal and inter-annual variability)
Costs | Best Estimate | Likely Range | Comments
Capital |  |  | Costs would be similar to Alternative 8. Lochquifer but unit cost higher owing to projected reduced water extraction and return to the City.
Annual
Present Value
Capital cost/MG
PV Cost/MG
Energy (KWh/MG)
Key Components
1. Four recharge wells at 250 gpm each, 250 ft deep. | 6
2. Four well sites | 7
3. Pipelines connecting recharge wells to SqCWD distribution system | 8
4. Major upgrades to City distribution system to transfer water to and receive water from SqCWD. | 9
5 | 10
Implementation Requirements Summary
Execute an agreement between the City and SqCWD for transfer of water. Acqure well sites and permit and install wells and supporting facilities.. Determine pipeline routes and install pipelines
Required Land Area (acres) |  |  |  | 1
Permitting Summary
Permit wells. Determine if injection wells and groundwater basin use require special consideration under new CA groundwater law and regulations. Determine if coastal development permit is required.
Legal Requirements/Issues
Agreement between the City and SqCWD. Address water rights issues flowing form potential change of place of use for City water rights.
Related Opportunities
Environmental Considerations
Potential fisheries impacts. Construction impacts at Felton diversion and through City.
Issues to Resolve
Water rights issues; water sharing agreement between SCWd and SqCWD; environmental issues resulting from increased diversion from SLR.
Initial Evaluation
Effectiveness
Practicality
Environmental Impacts
Weighted
WORKING
DRAFT

## SCWD Water Reuse
City of Santa Cruz Water Supply Advisory Committee
Recon Phase -- Technical Summary
Alternative 11 - "SCWD: Water Reuse"
This alternative for initial comparison would produce complete advance treatment (CAT) water from the City Wastewater Treatment Plant (WWTP) at a rate of about 3.7 mgd. The City would pump the CAT water from the WWTP through a new pipeline to the Bay street Reservoirs site where the new pipeline would connect to the existing North Coast pipeline. The combined water would flow to the inlet end of the GHWTP, to be treated and distributed to the City. This alternative would produce up to about 1350 MG annually. The City would have the option of selling surplus treated water to either SqCWD or Scotts Valley Water District as part of either a conjunctive use (aquifer resting) or ASR project. To develop space for new facilities within the WWTP site, the City would need to relocate its Line Maintenance Facility from the WWTP site to a new site on the West Side. This alternative has several outstanding issues, e.g., permitting such reuse through CA Division of Drinking Water, gaining public acceptance for adding CAT water as part of its potable water supply, and possibly reaching agreements with adjacent agencies.
Initial Ranking | Convention Number
2
Description: Recycled water for direct potable reuse
Estimated Annual Yield (million gallons [MG]) |  |  |  | Up to 1350
Reliability Over Time (seasonal and inter-annual variability)
Costs | Best Estimate | Likely Range | Comments
Capital | $105M | $72M to $162M
Annual
Present Value
Capital cost/MG annual capacity | 80000 | $60,000 to $120,000
PV Cost/MG | 3600 | $2,400 to $6,000
Energy (KWh/MG)
Key Components
1. Nitrifying trickling filters | 6. Chemical conditioning
2. Ozone and biologically activated carbon | 7. Residual disinfectant
3. Micro or ultrafiltration | 8. Pumping station
4. Reverse osmosis | 9. Pipeline from WWTP to Bay Street Reservoirs
5, Advanced oxidation (peroxide and UV) | 10. Relocated City Sewer Line Maintennace Facility from WWTP to another site.
Implementation Requirements Summary
Facilities for this alternative would produce complete advanced treatment (CAT) water from effluent at the City's WWTP, from where it would be pumped to the existing North Coast pipeline adjacent to the Bay Street Reservoirs. The alternative's water would be considered direct potable reuse since the City would have neither the dilution with other raw water nor the hydraulic residence time to qualify as IPR. Addition of the ozone/BAC process would provide the added factor of safety. Determine if WWTP NPDES permit would need modification owing to changes in the discharge. Determine if the effluent outfall diffuser would need modification because of reduced flow.Carry out preliminary planning; prepare, circulate and certify environmental documents; complete design documents; file for and obtain permits; bid and construct improvements and initiate operations.Carry out preliminary planning; prepare, circulate and certify environmental documents; complete design documents; file for and obtain permits; bid and construct improvements and initiate operations.
Required Land Area (acres) |  |  |  | 2 acres for new Line Maintenance Facility
Permitting Summary
Complete the CEQA process. Permit through Division of Drinking Water. Possibly modify WWTP NPDES permit.
Legal Requirements/Issues
Determine ownership of effluent from WWTP.
Environmental Considerations
Determine whether modified WWTP effluent discharge would impact the receiving waters; acceptability for new Line Maintenance Facility on West Side.
Related Opportunities
Issues to Resolve
Community acceptability for CAT water added to City's raw water supply. Permitting through Divison of Drinking Water.
Initial Evaluation
Effectiveness
Practicality
Environmental Impacts
Weighted
WORKING
DRAFT

## SWC Desalination
City of Santa Cruz Water Supply Advisory Committee
Recon Phase -- Technical Summary
Alternative 12 - "Sustainable Water Coalition: Desalination"
This alternative for initial comparison would use seawater desalting through a new reverse osmosis desalination facility to produce about 2.5 mgd for addition to the City potable water supply. Annual production would be about 915 MG. This alternative’s components and development would match those for the previously proposed scwd2 desalination facility. For comparison with other alternatives, BC has assumed that the City would own and operate the facility and would use the water produced year round. Excess water would allow the City to either idle the Live Oak wells for conjunctive use aquifer recover to perhaps undertake Live Oak well operation in an ASR mode to restore the aquifer more rapidly. This alternative has several outstanding issues, e.g., environmental document completion, permitting through the California Coastal Commission, and public vote approving alternative implementation.
Initial Ranking | Convention Number
3
Description: Desalination
Estimated Annual Yield (million gallons [MG]) |  |  |  | 915
Reliability Over Time (seasonal and inter-annual variability)
Costs | Best Estimate | Likely Range | Comments
Capital | $105M | $70M to $160M
Annual
Present Value
Capital cost/MG annual capacity | 115000 | $77,000 to $172,000
PV Cost/MG
Energy (KWh/MG)
Key Components
1. Marine intake and pipeline or tunnel to shore. | 6
2. Onshore pumping station. | 7
3. Desalination facility. | 8
4. Brine storage and brine disposal pipeline. | 9
5
Implementation Requirements Summary
Complete CEQA process. Obtain voter and City Council approval. Acquire site on West Side and establish final pipeline routes. Deign, bid, build, and commision new facility.
Required Land Area (acres)
Permitting Summary
Completion of CEQA process. California Coastal Commission approval.
Legal Requirements/Issues
Compliance with recent revisions to California Ocean Plan for both intakes and brine disposal.
Environmental Considerations
Impact on marine species; energy use and potential greenhouse emissions; temporary impact during construction.
Related Opportunities
Desalination facility would be flexible to convert to improved technologies when then become available.
Issues to Resolve
Marine intake location and permits. Site acquisition for new facilities. Fianalization of pipeline routes.
Initial Evaluation
Effectiveness
Practicality
Environmental Impacts
Weighted
WORKING
DRAFT

## Trevi Forward Osmosis Desal
City of Santa Cruz Water Supply Advisory Committee
Recon Phase -- Technical Summary
Alternative 13 - "Trevi: Forward Osmosis Desalination"
This alternative for initial comparison would use seawater desalting through a Trevi forward osmosis (FO) system. This alternative’s other components would match those for seawater desalting. The alternative has several outstanding issues, e.g., Trevi technology is still in its infancy and being tested at a pilot scale. As described, it would require a lower grade heat source for separately drawing the solution from the potable water but the alternative description did not designate a source for lower grade heat. Since the Trevi FO is still at the developmental stage, BC has not developed this alternative further. If future testing and implementation by other entities prove its value, it could replace RO if the City was to select and implement Alternative 12.
Initial Ranking | Convention Number
Tied for 12th place
Description: Desalination with forward osmosis (FO) [note that this technology is still developmental]. Therefore this summary does not project cost.
Estimated Annual Yield (million gallons [MG]) assuming that a new facility would produce 2.5 mgd |  |  |  | 915
Reliability Over Time (seasonal and inter-annual variability)
Costs | Best Estimate (present dollars, in 2039 [25 years in the future; assumed present is 2014]) | Likely Range | Comments
Capital
Annual
Present Value
Capital cost/MG
PV Cost/MG
Energy (KWh/MG)
Key Components
1. Offshore seawater intake, pipelines, and pumping station, to deliver seawater to Trevi process site . | 6. Post treatment for potable water conditioning.
2. Pretreatment system such as DAF and MF for initial seawter cleaning. | 7
3. Trevi process site to separate potable water and recover and return draw solution. | 8
4. Waste heat for Trevi separation system. | 9
5. Brine return pipeline. | 10
Implementation Requirements Summary
Required Land Area (acres)
Permitting Summary
Legal Requirements/Issues
Environmental Considerations
Marine and coastal life
Related Opportunities
Forward osmosis might be a viable alternative to RO for producing highly purified CAT water.
Issues to Resolve
The available data are only from field studies that Trevi Systems have done or are currently running. Source of waste heat to drive FO system needs to be identified
Initial Evaluation
Effectiveness
Practicality
Environmental Impacts
Weighted
WORKING
DRAFT